## Structure_RMF
Chapter No (RMF Browser) | Chapter/Filename RMF Chasseneuil | doc | exluded | Include in document & recommandations | Do not include | NC à adresser
1 | Device description and general specification
1.1 | Device description
1.1.1 | General description and intended use | 1
1.1.2 | UDI | 1
1.1.3 | Accessories | 1 |  | List of the accessories and their use
1.1.4 | Drawings, photographs and diagrams | 1 |  | pictures with proper legend, indicating the name and the identification of the components
1.1.5 | Description of used materials | 1 |  | list of materials and
1.1.6 | Material data sheets | 1
1.2 | General specification
1.2.1 | Product specification | 1
1.2.2 | Packaging specification | 1
1.2.3 | System, hardware and mechanical requirement specification | 1
1.3 | Similar and previous devices
1.3.1 | Manufacturers previous generations | 1 |  | an history of the device with the list of the changes, highlighting the ones with an impact on clinical outcomes. | the details of the changes
1.3.2 | Similar devices in the market | 1 |  | an overview of the devices on the market having the same intended use. Provide in appendices the brochures of said devices. | the technical comparison of the devices.
2 | Labeling
2.1 | Labels on the device and packaging | 1
2.2 | Instructions for use | 1 |  | copy of the IFU + reference and version of the IFU
2.3 | Promotional material | 1 |  | copy of the brochures + link to webpage
2.4 | Service manual | 1 | 1
3 | Design and manufacturing information
3.1 | Design process | 1
3.2 | Design and manufacturing sites | 1 |  | name and address of Bbbraun Chasseneuil
3.3 | Manufacturing process | 1 |  | manufacturing workflows. List of suppliers.
3.4 | Batch, lot and serial numbering system | 1
4 | Essential principles of safety and performance
4.1 | Essential principles checklist | 1
4.2 | List of applied standards | 1 |  | list of applicable standards to the device. | all the standards monitored on site
5 | Risk management
5.1 | Risk management plan | 1 |  | risk management plan according EN ISO 14971 section XX
5.2 | Risk management summary | 1 |  | risk management report according EN ISO 14971 section XX
5.3 | Risks analysis | 1 |  | risks analysis, according EN ISO 14971, section XXX
6 | Product verification and validation
6.1 | Design verification and preclinical tests
6.1.1 | Design input and verification
6.1.1.1 | Requirement profile | 1 |  | matrice de traceabilité de conception ?
6.1.1.2 | Test specifications | 1 |  | ?
6.1.1.3 | Test plans | 1 |  | plans de tests
6.1.1.4 | Test methods | 1
6.1.1.5 | Test protocols | 1
6.1.1.6 | Certificates of analysis | 1
6.1.1.7 | Test reports | 1
6.1.2 | Biocompatibility and preclinical studies
6.1.2.1 | Evaluation | 1 |  | BER
6.1.2.2 | Test reports | 1
6.1.2.3 | Additional documentation | 1 |  | TRA ?
6.1.3 | Cleaning and re-processing | 1
6.1.4 | Electrical safety and electromagnetic compatibility | 1
6.1.5 | Stability and shelf-life | 1
6.1.6 | Performance tests | 1
6.1.7 | Evaluation of design verification | 1
6.2 | Clinical evaluation
6.2.1 | Clinical evaluation Plan | 1
6.2.2 | Clinical evaluation report | 1
6.2.3 | Post marketing clinical follow-up plan | 1
6.2.4 | PMCF evaluation report or justification for no PMCF | 1
6.2.5 | Summary of safety and clinical performance | 1
6.2.6 | Clinical studies and user surveys | 1
6.2.7 | Literature and register data | 1
6.3 | Validation
6.3.1 | Usability | 1
6.3.2 | Packaging validation
6.3.2.1 | Summary | 1
6.3.2.2 | Validation report | 1
6.3.3 | Sterilization validation
6.3.3.1 | SAL certificate | 1
6.3.3.2 | Summary | 1
6.3.3.3 | Validation report | 1
6.3.4 | Manufacturing validation | 1
6.4 | Software |  | 1
6.4.1 | Architecture |  | 1
6.4.2 | Configuration management and version description |  | 1
6.4.3 | Development plan |  | 1
6.4.4 | Specifications |  | 1
6.4.5 | Verification reports |  | 1
6.4.6 | Product validation report |  | 1
6.4.7 | Revision level history |  | 1
6.4.8 | Unresolved anomalies |  | 1
6.4.9 | Classification |  | 1
6.4.10 | Release |  | 1
6.5 | Medicinal substances | 1
6.6 | Biological safety | 1
7 | Certificates
7.1 | Declaration of conformity | 1
7.2 | Certificate of conformity | 1
7.3 | Company certificates | 1
8 | Post market surveillance
9 | Administrative documents
9.1 | Declaration letters | 1
9.2 | Registration status | 1
9.3 | RMF changes | 1
9.4 | Other documents | 1
Note on E1: Patrick Raugel (EXT): règle : quand une section comporte plusieurs documents, il est nécessaire de rédiger une note pour préciser l'organisation des documents et les relations. Les noms de fichiers doivent être explicite. Il sera utile de rédiger un document général qui précise comment naviguer dans la documentation technique.

## Liste docs RMF
Chapter No (RMF Browser) | audit scope | Chapter/Filename RMF Chasseneuil | Colonne3 | Annex N° | Document title | Responsable | Qui ? | Nombre de documents | Non | Colonne1 | Colonne2 | Responsable formé O/N | Commentaire | Doc IMS | Formulaire | Dans B.DoCS ? O/N | Si O : A Finaliser X | Si O : Effectif + Natif ok | Onglet S2-RMF Structure O/N ? | Doc associé à S2-RMF ? O/N
1 |  | Device description and general specification |  |  | RMF | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07-003 | 4-1-07-003-1
1.1 | X | Device description
1.1.1 | X | General description and intended use |  | Annex03 | Glossary | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former | 5-1-04 | 5-1-04-000-8
1.1.2 |  | UDI
1.1.3 |  | Accessories
1.1.4 | X | Drawings, photographs and diagrams |  | Annex09_8_A | Drawings list | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former
|  |  |  | Annex09_8_B | Packaging drawings | Developpement | S. Remaudière, R. Bernard | 12 |  |  |  | N | Attente noms qui former
|  |  |  | Annex09_8_C | Components drawings | Developpement | S. Remaudière, R. Bernard | 175 |  |  |  | N | Attente noms qui former
1.1.5 | X | Description of used materials |  | Annex09_2 | Global Material List | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | ? | ? |  |  |  | O
|  |  |  | Annex18_1 | COM | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former
|  |  |  | Annex18_2 | CMR ED | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O
1.1.6 | X | Material data sheets |  | Annex09_2_A | Raw materials | Réglementaire | M. Bardon, C. Nandelec | 50 |  |  |  | O | [6 empty] | O
|  |  |  | Annex09_2_B | Additives | Réglementaire | M. Bardon, C. Nandelec | 11 |  |  |  | O
|  |  |  | Annex09_2_C | Processing aids | Réglementaire | M. Bardon, C. Nandelec | 27 |  |  |  | O | [6 empty] | O
|  |  |  | Annex09_2_D | Primary packaging | Réglementaire | M. Bardon, C. Nandelec | 8 |  |  |  | O
1.2 |  | General specification
1.2.1 | X | Product specification |  | Annex09_6_1 | MMC | PMO | C. Caplier | 1 |  |  |  | N | Reformer avec Développement | 5-1-00-001 | 5-1-00-001-1
|  |  |  | Annex09_6_B | GBOM | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former | 5-1-04 | 5-1-04-000-6
1.2.2 | X | Packaging specification | Bulk packaging specification | Annex07_6 | Packaging specification | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former | 4-2-05 | Template SPP
1.2.3 |  | System, hardware and mechanical requirement specification
1.3 |  | Similar and previous devices
1.3.1 |  | Manufacturers previous generations
1.3.2 |  | Similar devices in the market
2 |  | Labeling
2.1 |  | Labels on the device and packaging |  | Annex12_2 | Labeling | MSA Labeling | F. Clergeaud, A. Lecossier | 5 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-007 | 4-1-07-007-4 | N | N/A | N/A | N | N
2.2 | X | Instructions for use | common practice and recommandations, including precautions to ensure performance and safety | Annex12_1 | IFU | MSA Labeling | F. Clergeaud, A. Lecossier | 1 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-007 | 4-1-07-007-4 | N | N/A | N/A | N | N
|  |  |  | Annex12_3_B | Implant card | MSA Labeling | F. Clergeaud, A. Lecossier | 1 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-007 |  | N | N/A | N/A | N | N
|  |  |  | Annex12-3_C | patient label | MSA Labeling | F. Clergeaud, A. Lecossier | 1 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-007 |  | N | N/A | N/A | N | N
|  |  |  | Annex12_3_D | PIL | MSA Labeling | F. Clergeaud, A. Lecossier | 1 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-007 |  | N | N/A | N/A | N | N
2.3 | X | Promotional material | commercial brochure, if any | Annex12_3_A | Brochure | MSA Labeling | F. Clergeaud, A. Lecossier | 1 |  |  |  | N | MSA : O Labelling : reformer | 4-1-07-009 |  | N | N/A | N/A | N | N
2.4 |  | Service manual
3 |  | Design and manufacturing information
3.1 |  | Design process |  | Annex13_4 | design review | PMO | C. Caplier | 3 |  |  |  | N | Reformer avec Développement | 5-1-00-002 | 5-1-00-002-4
3.2 | X | Design and manufacturing sites |  | Annex14_6 | supplier list | Achat | C. Paillard | 1 |  |  |  | N | A plannifier
3.3 | X | Manufacturing process |  | Annex13_2_D | BOM | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 6 |  |  |  | O
|  |  |  | Annex14_2 | FMCS | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 1 |  |  |  | O |  | 5-1-06 | 5-1-06-000-4 | N |  |  | O
[5 empty] | FMC | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 14 |  |  |  | O |  | 5-1-06 | 5-1-06-000-2 | N |  |  | O
[5 empty] | annexes FMC (FP/PED/PLC/VPS) | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 45 |  |  |  | O |  | N/A | N/A
3.4 | X | Batch, lot and serial numbering system
4 | X | Essential principles of safety and performance
4.1 |  | Essential principles checklist |  | Annex15_1 | GSPR | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07-003 | 4-1-07-003-2 |  |  |  | O
4.2 | X | List of applied standards |  | Annex15_2_A | Standard listing | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 5-1-00-004 | 5-1-00-004-1 |  |  |  | O
|  |  |  | Annex15_2 | SAM | Réglementaire | M. Bardon, C. Nandelec | 16 |  |  |  | O |  | 5-1-00-004 | 5-1-00-004-2
5 | X | Risk management |  | Annex17 | PRM | Gestion des risques | C. Jung-Debote | 1 |  |  |  | N | A Reprogrammer | 4-2-07 | 4-2-07-000-1 | N |  |  | O
|  |  |  | Annex16 | Benefit-risk | Gestion des risques | C. Jung-Debote | 1 |  |  |  | N | A Reprogrammer | 4-2-07 | 4-2-07-000-5 | N |  |  | O
5.1 | X | Plan
5.2 | X | Summary
5.3 | X | Analysis
6 | X | Product verification and validation
6.1 | X | Design verification and preclinical tests
6.1.1 |  | Design input and verification |  | Annex13_2_B | DVR | Labo | C. Hennault, A. Claisse, H. Vaillant | 1 |  |  |  | O |  | 5-1-05-010 | 5-1-05-010-1 |  |  |  | O
[5 empty] | Annexes DVR (PED) |  |  | 19 | [5 empty] | 5-1-05-010 | Template PED
[5 empty] | Annexes DVR (certif) |  |  | 6 | [5 empty] | 5-1-05-010 | Voir Hugo
[5 empty] | Annexes DVR (test report) |  |  | 83 | [5 empty] | 5-1-05-010 | Voir Hugo
w
|  |  |  | Annex18_6 | FDC | Labo | C. Hennault, A. Claisse, H. Vaillant | 1 |  |  |  | O |  | ? | Pas de numéro
|  |  |  | Annex13_2_A | MDC | Developpement | S. Remaudière, R. Bernard | 1 |  |  |  | N | Attente noms qui former | 5-1-04 | 5-1-04-000-5
6.1.1.1 |  | Requirement profile
6.1.1.2 |  | Test specifications
6.1.1.3 |  | Test plans
6.1.1.4 |  | Test methods
6.1.1.5 |  | Test protocols
6.1.1.6 |  | Certificates of analysis
6.1.1.7 |  | Test reports
6.1.2 |  | Biocompatibility and preclinical studies
6.1.2.1 |  | Evaluation |  | AnnexC2 | Biological Risk Assessment (BRA) | Biocomp | M. Bardon | 1 |  |  |  | O |  | 5-1-05-003 | 5-1-05-003-2 |  |  |  | O
|  |  |  | AnnexC2 | Biological Evaluation Report (BER) | Biocomp | M. Bardon | 13 |  |  |  | O |  | 5-1-05-003 | 5-1-05-003-1 |  |  |  | O
6.1.2.2 |  | Test reports |  | AnnexC2 | Test Reports | Biocomp | M. Bardon | 89 |  |  |  | O |  | ? | Docs fournisseurs |  |  |  | O
6.1.2.3 |  | Additional documentation |  | AnnexC2 | Literature Search | Biocomp | M. Bardon | 64 |  |  |  | O |  | ? | Pas de numéro
|  |  |  | AnnexC2 | Chemical Risk Assessment (CRA) | Biocomp | M. Bardon | 11 |  |  |  | O |  | 5-1-05-003 | 5-1-05-003-3 |  |  |  | O
|  |  |  | AnnexC2 | Supplier data | Biocomp | M. Bardon | 16 |  |  |  | O |  | ? | Docs fournisseurs
|  |  |  | AnnexC2 | GLP Certificates | Biocomp | M. Bardon | 4 |  |  |  | O |  | ? | Docs fournisseurs
|  |  |  | AnnexC2 | Biological Evaluation of change (BEC) | Biocomp | M. Bardon | 1 |  |  |  | O |  | 5-1-05-003 | 5-1-05-003-5 |  |  |  | O
6.1.3 |  | Cleaning and re-processing
6.1.4 |  | Electrical safety and electromagnetic compatibility
6.1.5 |  | Stability and shelf-life
6.1.6 |  | Performance tests
6.1.7 |  | Evaluation of design verification
6.2 |  | Clinical evaluation
6.2.1 |  | Plan |  | AnnexC1_A | CEP | MSA | F. Clergeaud | 1 |  |  |  | O |  | 4-1-07-001 | 4-1-07-001-1 |  |  |  | O
6.2.2 |  | Report |  | Annex C1_B | CER | MSA | F. Clergeaud | 1 |  |  |  | O |  | 4-1-07-001 | 4-1-07-001-2 |  |  |  | O
[5 empty] | annexes CER |  |  | 26
6.2.3 |  | Post marketing clinical follow-up plan |  | Annex19_2 | PMCF Plan | MSA | F. Clergeaud | 1 |  |  |  | O |  | 4-1-05 | 4-1-05-000-4 |  |  |  | O
6.2.4 |  | PMCF evaluation report and justification for no PMCF |  | Annex19_5 | PMCF Report | MSA | F. Clergeaud | 1 |  |  |  | O |  | 4-1-05 | 4-1-05-000-5 |  |  |  | O
6.2.5 |  | Summary of safety and clinical performance |  | Annex C1_C | SSCP | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07-003 | 4-1-07-003-3 |  |  |  | O
6.2.6 |  | Clinical studies and user surveys
6.2.7 |  | Literature and register data
6.3 |  | Validation |  | Annex13_2_C | DVS | Validation | C. Caplier | 1 |  |  |  | O |  | 5-1-08 | 5-1-08-000-14
6.3.1 |  | Usability |  | Annex18_6 | Usability | Human Factor Engineering | C. Caplier | 1 |  |  |  | N | Reformer avec Développement | 5-1-00-013 | Pas de numéro
6.3.2 |  | Packaging validation |  | AnnexC4 | Packaging | Packaging | K. Robert | 1 |  |  |  | O |  | 5-1-06-002 | 5-1-06-002-1
[5 empty] | annexes PVR |  |  | 24 | [6 empty] | différents docs (SP, AMD, etc…)
6.3.2.1 |  | Summary
6.3.2.2 |  | Validation report
6.3.3 |  | Sterilization validation |  | AnnexC5 | Sterilization | Microbiology | A. Janicot | 1 |  |  |  | O | N'utilise pas à ce jour | 5-1-06-006 | 5-1-06-006-5 | O |  |  | O
[5 empty] | annexes SER |  |  | 54 | [5 empty] | 5-1-06-006 | Pas de numéro | O |  |  | O
6.3.3.1 |  | SAL certificate
6.3.3.2 |  | Summary
6.3.3.3 |  | Validation report
6.3.4 |  | Manufacturing validation |  | Annex14_4 | validated processes | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 177 |  |  |  | O |  | 5-1-06 | 5-1-06-000-3 |  |  |  | N
|  |  |  | AnnexC3 | Cleaning | Méthodes/Indus | P. Rousselot, C. Bouchet, S. Girard ; A. David, K. Robert, C. Madronet | 20 |  |  |  | O |  | 5-1-06 | 5-1-06-009-2 |  |  |  | N
6.4 |  | Software
6.4.1 |  | Architecture
6.4.2 |  | Configuration management and version description
6.4.3 |  | Development plan
6.4.4 |  | Specifications
6.4.5 |  | Verification reports
6.4.6 |  | Product validation report
6.4.7 |  | Revision level history
6.4.8 |  | Unresolved anomalies
6.4.9 |  | Classification
6.4.10 |  | Release
6.5 |  | Medicinal substances
6.6 |  | Biological safety
7 |  | Certificates
7.1 |  | Declaration of conformity
7.2 |  | Certificate of conformity |  | Annex04_3 | EC certificates (legacy devices) | Réglementaire | M. Bardon, C. Nandelec | 4 |  |  |  | O |  | 4-1-07-003 | Doc G-Med | O |  |  | O
7.3 |  | Company certificates |  | Annex01 | QMS certificates | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07 | Doc G-Med | O |  |  | O
8 |  | Post market surveillance |  | Annex19_1 | PMS Plan | PMS | C. Jung-Debote | 1 |  |  |  | N | A Reprogrammer | 4-1-05 | 4-1-05-000-2 | N |  |  | O
|  |  |  | Annex19_3 | PSUR | PMS | C. Jung-Debote | 1 |  |  |  | N | A Reprogrammer | 4-1-05 | 4-1-05-000-3 | N |  |  | O
9 |  | Administrative documents
9.1 |  | Declaration letters |  | Annex05 | Statements | Réglementaire | M. Bardon, C. Nandelec | 4 |  |  |  | O |  | 4-1-07 | Pas de numéro
|  |  |  | Annex04_3 | statement notified body | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07 | Doc G-Med
|  |  |  | Annex04_3 | statement intended purpose | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07 | Doc G-Med
9.2 |  | Registration status |  |  | rapports GMED | Réglementaire | M. Bardon, C. Nandelec |  |  |  |  | O |  | 4-1-07 | Doc G-Med
9.3 |  | RMF changes |  | HISTORY |  | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-1-07 | Pas de numéro
9.4 |  | Other documents |  | Annex10_1 | Changes | Réglementaire | M. Bardon, C. Nandelec | 1 |  |  |  | O |  | 4-2-09 | Pas de numéro | N |  |  | N
|  |  |  | Annex10_1_2 | Changes summaries | Réglementaire | M. Bardon, C. Nandelec | 16 |  |  |  | O |  | 4-2-09 | 4-2-09-000-9 | N |  |  | N
Note on P45: Valerie Beaume: s'intitule Risk Management Plan (PRMxxx)
Note on T45: Valerie Beaume: Obligé de choisir 5.1, 5.2 ou 5.3 pour affecter les documents
Note on T46: Valerie Beaume: Obligé de choisir 5.1, 5.2 ou 5.3 pour affecter les documents
Note on P74: Valerie Beaume: Form. Jamais officialisé dans l'IMS mais utilisé dans RMF. Stop le 14-11-2024
Note on Q95: Valerie Beaume: SER005
Note on Q96: Valerie Beaume: SER005

## GMED
Référence | Section | Analytical Classification Key | Item | Exigence résumée
1 | Informations générales | ACK0010 | Fabricant légal | Nom, raison sociale, marque et adresse du fabricant responsable de la mise sur le marché.
2 | Informations générales | ACK0020 | Mandataire UE | Nom et adresse du mandataire européen (si applicable).
3.1 | Informations générales | ACK0030 | Identification DM | Identification du dispositif, variantes, configurations et références commerciales.
3.2 | Informations générales | ACK0040 | Pays de commercialisation | États membres où le produit est ou sera commercialisé.
4.1 | Informations générales | ACK0050 | Certification qualité | Attestation CE du système qualité couvrant le DM.
4.2 | Informations générales | ACK0060 | Attestation conformité | Attestation de conformité applicable.
4.3 | Informations générales | ACK0070 | Historique réglementaire | Autres évaluations de conformité ou enregistrements hors UE.
5.1 | Informations générales | ACK0080 | Origine animale | Déclaration d'utilisation ou non de produits d'origine animale.
5.2 | Informations générales | ACK0090 | Substance médicamenteuse | Déclaration de présence d'une substance assimilable à un médicament.
5.3 | Informations générales | ACK0100 | Dérivé du sang humain | Déclaration de présence de substance dérivée du sang humain.
5.4 | Informations générales | ACK0110 | Substance absorbée par le corps | Déclaration concernant substances absorbées ou dispersées localement.
6.1 | Description DM | ACK0120 | Justification DM | Démonstration que le produit est un dispositif médical.
6.2 | Description DM | ACK0130 | Classification | Classe MDR, règle appliquée et justification.
7.1 | Description DM | ACK0140 | IUD / UDI | Identifiant unique du dispositif.
7.2 | Description DM | ACK0150 | Code nomenclature | Code EMDN ou GMDN.
7.3 | Description DM | ACK0160 | Accessoires associés | Description des accessoires et dispositifs associés.
7.4 | Description DM | ACK0170 | Variantes | Variantes et configurations du dispositif.
7.5 | Description DM | ACK0180 | Logiciels | Description des logiciels associés.
7.6 | Description DM | ACK0190 | Présentation commerciale | Description et photos du produit emballé.
8.1 | Usage revendiqué | ACK0200 | Destination médicale | Finalité médicale revendiquée.
8.2 | Usage revendiqué | ACK0210 | Utilisateurs | Population d'utilisateurs visée.
8.3 | Usage revendiqué | ACK0220 | Indications | Indications, patients cibles et conditions d'utilisation.
8.4 | Usage revendiqué | ACK0230 | Fonctionnement | Principe de fonctionnement et mode d'action.
8.5 | Usage revendiqué | ACK0240 | Performances cliniques | Performances cliniques revendiquées.
8.6 | Usage revendiqué | ACK0250 | Bénéfices cliniques | Bénéfices attendus pour le patient.
8.7 | Usage revendiqué | ACK0260 | Sécurité utilisateur | Contre-indications, effets secondaires et avertissements.
8.8 | Usage revendiqué | ACK0270 | Durée de vie | Durée de maintien des performances.
8.9 | Usage revendiqué | ACK0280 | Péremption | Date ou durée de validité.
9.1 | Composants | ACK0290 | Description composants | Description des matériaux et composants clés.
9.2 | Composants | ACK0300 | Matières premières | Spécifications des matières premières.
9.3 | Composants | ACK0310 | Additifs et contaminants | Spécifications des additifs, contaminants et résidus.
9.4 | Composants | ACK0320 | Conditionnement primaire | Spécifications du conditionnement primaire.
9.5 | Composants | ACK0330 | Matériaux en contact patient | Identification des matériaux au contact du patient.
9.6 | Composants | ACK0340 | Produit fini | Spécifications techniques du produit fini.
9.7 | Composants | ACK0350 | Accessoires évalués | Spécifications des accessoires couverts.
9.8 | Composants | ACK0360 | Plans et schémas | Plans, schémas et photos associés.
10.1 | Historique produit | ACK0370 | Générations précédentes | Références aux versions antérieures du DM.
10.2 | Historique produit | ACK0380 | Produits similaires | Comparaison avec produits concurrents similaires.
10.3 | Historique produit | ACK0390 | Innovation | Description des nouveautés et innovations.
10.4 | Historique produit | ACK0400 | Caractère innovant | Explication des nouvelles caractéristiques + justification selon grille ANSM
11.1 | Historique modifications | ACK0410 | Évolution produit | Historique des modifications depuis la mise sur le marché.
11.2 | Historique modifications | ACK0420 | Modifications non notifiées | Identification des changements non encore notifiés.
11.3 | Historique modifications | ACK0430 | Évolutions réglementaires | Impact réglementaire, normatif et état de l'art.
12.1 | Informations fabricant | ACK0440 | Notice d'utilisation | Notice ou manuel utilisateur, y compris eIFU
12.2 | Informations fabricant | ACK0450 | Étiquetage | Étiquettes dans les langues et emballages commerciaux, incluant graphiques.
12.3 | Informations fabricant | ACK0460 | Documentation associée | Technique opératoire, cartes implant, brochures, catalogues, publications, manuel de maintenance, etc.
13.1 | Conception | ACK0470 | Planification conception | Plan de conception et développement.
13.2 | Conception | ACK0480 | Vérification conception | Résultats de vérification.
13.3 | Conception | ACK0490 | Transfert conception | Preuves du transfert vers la production.
13.4 | Conception | ACK0500 | Revues conception | Comptes-rendus des revues de conception.
14.1 | Fabrication | ACK0510 | Fournisseurs critiques | Fournisseurs et distributeurs critiques.
14.2 | Fabrication | ACK0520 | Logigramme fabrication | Processus de fabrication et contrôles.
14.3 | Fabrication | ACK0530 | Méthodes de fabrication | Description des procédés et contrôles.
14.4 | Fabrication | ACK0540 | Procédés validés | Validation procédés (QO/QP).
14.5 | Fabrication | ACK0550 | Environnement de fabrication | Classification et description des zones de fabrication.
14.6 | Fabrication | ACK0560 | Sites et sous-traitants | Sites de fabrication et certifications associées.
15.1 | EGSP | ACK0570 | Applicabilité EGSP | Exigences applicables et non applicables.
15.2 | EGSP | ACK0580 | Démonstration conformité | Méthodes utilisées pour démontrer la conformité.
15.3 | EGSP | ACK0590 | Normes appliquées | Liste des normes et spécifications utilisées.
15.4 | EGSP | ACK0600 | Preuves documentaires | Références des documents démontrant la conformité.
16 | Analyse bénéfice/risque | ACK0610 | Analyse bénéfice/risque | Conclusion B/R basée sur clinique, PMS, PSUR et risques.
17.1 | Gestion des risques | ACK0620 | Méthodologie | Méthodes de gestion des risques et norme appliquée.
17.2 | Gestion des risques | ACK0630 | Cycle de vie | Définition du cycle de vie pris en compte.
17.3 | Gestion des risques | ACK0640 | Dossier risques | Plan, analyses, maîtrise et rapport de risques.
18.1 | Données précliniques | ACK0650 | Choix matériaux | Justification des matériaux et alternatives.
18.2 | Données précliniques | ACK0660 | Substances CMR/PE | Évaluation des CMR et perturbateurs endocriniens (>0,1%).
18.3 | Données précliniques | ACK0670 | Dérivés de suif | Présence et justification des dérivés du suif animal.
18.4 | Données précliniques | ACK0680 | Essais précliniques | Rapports d'essais mécaniques, physiques, chimiques, électriques, etc.
18.5 | Vérification produit | ACK0690 | Fonction de mesurage | Exactitude des fonctions de mesure.
18.6 | Vérification produit | ACK0700 | Interconnexion DM | Compatibilité avec d'autres dispositifs.
18.7 | Vérification produit | ACK0710 | Maintien performances | Stabilité, durée de vie et retraitement.
18.8 | Vérification produit | ACK0720 | Conclusion préclinique | Conclusion globale du fabricant.
18.9 | Vérification produit | ACK0730 | Aptitude à l'utilisation | Rapport d'utilisabilité (IEC 62366-1).
19.1 | PMS | ACK0740 | Plan PMS | Plan de surveillance après commercialisation.
19.2 | PMS | ACK0750 | Plan SCAC | Plan de suivi clinique après commercialisation.
19.3 | PMS | ACK0760 | PSUR | Rapport périodique actualisé de sécurité.
19.4 | PMS | ACK0770 | Rapport PMS | Rapport de surveillance après commercialisation.
19.5 | PMS | ACK0780 | Évaluation SCAC | Rapport d'évaluation du suivi clinique.
19.6 | PMS | ACK0790 | Modifications PMS | Évolutions et justifications des dispositions PMS.
20.1 | Données post-marché | ACK0800 | Date commercialisation | Date de mise sur le marché.
20.2 | Données post-marché | ACK0810 | Volumes vendus | Nombre de produits vendus UE/hors UE.
20.3 | Données post-marché | ACK0820 | Population exposée | Estimation des utilisateurs/patients.
20.4 | Données post-marché | ACK0830 | Réclamations | Nombre et nature des réclamations.
20.5 | Données post-marché | ACK0840 | Matériovigilance | Nombre et nature des signalements.
20.6 | Données post-marché | ACK0850 | Données cliniques PMCF | Résultats études PMCF et registres.
20.7 | Données post-marché | ACK0860 | Actions correctives | Correctifs et impacts sur la gestion des risques.
A1 | Annexe obligatoire | ACK0870 | Matières premières | Liste des matières premières, additifs et conditionnements primaires.
A2 | Annexe obligatoire | ACK0880 | Fabrication | Logigramme de fabrication et contrôles.
A3 | Annexe obligatoire | ACK0890 | Procédés validés | Tableau des procédés validés.
A4 | Annexe obligatoire | ACK0900 | Normes applicables | Liste des normes et référentiels appliqués.
AC1 | Annexe complémentaire | ACK0910 | Évaluation clinique | Rapport d'évaluation clinique.
AC2 | Annexe complémentaire | ACK0920 | Évaluation biologique | Dossier biologique ISO 10993.
AC3 | Annexe complémentaire | ACK0930 | Validation nettoyage | Validation nettoyage/désinfection.
AC4 | Annexe complémentaire | ACK0940 | Validation emballage | Validation du système d'emballage.
AC5 | Annexe complémentaire | ACK0950 | Validation stérilisation | Validation des procédés de stérilisation.
AC6 | Annexe complémentaire | ACK0960 | Matériaux animaux | Dossier matériaux d'origine animale.
AC7 | Annexe complémentaire | ACK0970 | DM avec médicament | Éléments pour DM incorporant un médicament.
AC8 | Annexe complémentaire | ACK0980 | DM composé de substances | Évaluation qualité/sécurité des substances absorbées.
AC9 | Annexe complémentaire | ACK0990 | Validation logiciel | Documentation de validation logicielle.
AC10 | Annexe complémentaire | ACK1000 | Examen de type | Rapport d'examen UE de type et essais.
AC11 | Annexe complémentaire | ACK1010 | Expertise | Rapports d'experts.
AC12 | Annexe complémentaire | ACK1020 | PSUR NB | Notified Body Evaluation Report du PSUR.

## annexe II MDR
Section | Référence | Exigence |  | section
1.1 Description et spécification du dispositif | 1.1.a | Nom ou dénomination commerciale du dispositif, description générale, destination et utilisateurs visés | Identification DM | Description DM
1.1 Description et spécification du dispositif | 1.1.b | IUD-ID (ou autre identification univoque permettant la traçabilité) | IUD / UDI | Description DM
1.1 Description et spécification du dispositif | 1.1.c | Population cible, indications, contre-indications, mises en garde et critères de sélection des patients |  | Usage revendiqué
1.1 Description et spécification du dispositif | 1.1.d | Principes de fonctionnement et mode d'action du dispositif |  | Usage revendiqué
1.1 Description et spécification du dispositif | 1.1.e | Justification du statut de dispositif médical |  | Description DM
1.1 Description et spécification du dispositif | 1.1.f | Classe de risque et justification de la règle de classification appliquée |  | Description DM
1.1 Description et spécification du dispositif | 1.1.g | Description de toute nouvelle caractéristique |  | Description DM
1.1 Description et spécification du dispositif | 1.1.h | Description des accessoires, autres dispositifs et produits utilisés en combinaison
1.1 Description et spécification du dispositif | 1.1.i | Liste ou description des configurations et variantes commercialisées
1.1 Description et spécification du dispositif | 1.1.j | Description des composants et fonctions clés (logiciel inclus le cas échéant), composition et représentations visuelles associées |  | Composants
1.1 Description et spécification du dispositif | 1.1.k | Description des matières premières des éléments fonctionnels clés et des éléments en contact avec le corps humain
1.1 Description et spécification du dispositif | 1.1.l | Spécifications techniques, dimensions, caractéristiques et performances du dispositif, de ses variantes et accessoires
1.2 Référence à des générations précédentes et similaires du dispositif | 1.2.a | Présentation des générations précédentes du dispositif fabriquées par le fabricant | Historique réglementaire
1.2 Référence à des générations précédentes et similaires du dispositif | 1.2.b | Présentation des dispositifs similaires disponibles sur le marché européen ou international
2 INFORMATIONS DEVANT ÊTRE FOURNIES PAR LE FABRICANT | 2.a | Étiquetage du dispositif et de tous les niveaux de conditionnement dans les langues applicables
| 2.b | Notice d'utilisation dans les langues applicables
3 INFORMATIONS SUR LA CONCEPTION ET LA FABRICATION | 3.a | Informations permettant la compréhension de la conception du dispositif
3 INFORMATIONS SUR LA CONCEPTION ET LA FABRICATION | 3.b | Informations et spécifications de fabrication, validations des procédés, contrôles et essais du produit fini
3 INFORMATIONS SUR LA CONCEPTION ET LA FABRICATION | 3.c | Identification des sites de conception et de fabrication, y compris fournisseurs et sous-traitants
4 EXIGENCES GÉNÉRALES EN MATIÈRE DE SÉCURITÉ ET DE PERFORMANCES | 4.a | Identification des exigences générales de sécurité et de performances (GSPR) applicables et justification des exigences non applicables
4 EXIGENCES GÉNÉRALES EN MATIÈRE DE SÉCURITÉ ET DE PERFORMANCES | 4.b | Méthodes utilisées pour démontrer la conformité aux GSPR
4 EXIGENCES GÉNÉRALES EN MATIÈRE DE SÉCURITÉ ET DE PERFORMANCES | 4.c | Normes harmonisées, spécifications communes ou autres solutions appliquées
4 EXIGENCES GÉNÉRALES EN MATIÈRE DE SÉCURITÉ ET DE PERFORMANCES | 4.d | Références documentaires démontrant la conformité à chaque exigence applicable
5 ANALYSE BÉNÉFICE/RISQUE ET GESTION DES RISQUES | 5.a | Analyse bénéfice/risque
5 ANALYSE BÉNÉFICE/RISQUE ET GESTION DES RISQUES | 5.b | Gestion des risques : méthodes, solutions retenues et résultats
6 VÉRIFICATION ET VALIDATION DU PRODUIT | 6 | Résultats et évaluation critique des études et essais de vérification et validation
6.1 Données précliniques et cliniques | 6.1.a | Résultats d'essais précliniques (laboratoire, ingénierie, simulation, animaux, littérature)
6.1 Données précliniques et cliniques | 6.1.b.1 | Biocompatibilité
6.1 Données précliniques et cliniques | 6.1.b.2 | Caractérisation physico-chimique et microbiologique
6.1 Données précliniques et cliniques | 6.1.b.3 | Sécurité électrique et compatibilité électromagnétique
6.1 Données précliniques et cliniques | 6.1.b.4 | Vérification et validation du logiciel
6.1 Données précliniques et cliniques | 6.1.b.5 | Stabilité et durée de conservation
6.1 Données précliniques et cliniques | 6.1.b.6 | Performance et sécurité
6.1 Données précliniques et cliniques | 6.1.b.7 | Justification de l'absence de nouvel essai le cas échéant
6.1 Données précliniques et cliniques | 6.1.c | Rapport d'évaluation clinique, mises à jour et plan d'évaluation clinique
6.1 Données précliniques et cliniques | 6.1.d | Plan et rapport de suivi clinique après commercialisation (SCAC/PMCF) ou justification de non-applicabilité
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.a | Informations relatives aux substances médicamenteuses incorporées au dispositif
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.b | Informations relatives aux tissus ou cellules d'origine humaine ou animale
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.c.1 | Études d'absorption, distribution, métabolisme et excrétion (ADME)
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.c.2 | Études d'interactions avec d'autres dispositifs, médicaments ou substances
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.c.3 | Études de tolérance locale
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.c.4 | Études de toxicité (aiguë, répétée, génotoxicité, carcinogénicité, reprotoxicité)
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.c.5 | Justification en cas d'absence de telles études
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.d | Justification relative aux substances CMR ou perturbateurs endocriniens
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.e | Validation des procédés de stérilisation et maîtrise microbiologique
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.f | Méthodes assurant l'exactitude des dispositifs de mesurage
6.2 Informations supplémentaires requises dans des cas spécifiques | 6.2.g | Validation du raccordement et de l'interopérabilité avec d'autres dispositifs
Item | Référence | Exigence / Donnée attendue
Informations incidents graves | 1.1.a.1 | Informations concernant les incidents graves, y compris celles issues des PSUR et des mesures correctives de sécurité.
Informations incidents non graves | 1.1.a.2 | Informations concernant les incidents non graves et données relatives aux éventuels effets secondaires indésirables.
Rapport de tendances | 1.1.a.3 | Informations provenant du rapport de tendances.
Sources techniques et scientifiques | 1.1.a.4 | Publications, bases de données et/ou registres techniques ou spécialisés.
Retours des acteurs économiques | 1.1.a.5 | Informations fournies par les utilisateurs, distributeurs et importateurs, y compris retours d'information et réclamations.
Informations publiques | 1.1.a.6 | Informations publiques relatives à des dispositifs médicaux similaires.
Processus de collecte PMS | 1.1.b.1 | Processus proactif et systématique de collecte des informations permettant de caractériser les performances du dispositif et de les comparer à celles de produits similaires.
Évaluation des données | 1.1.b.2 | Méthodes et processus appropriés et efficaces pour l'évaluation des données collectées.
Indicateurs et seuils | 1.1.b.3 | Indicateurs et seuils adaptés pour la réévaluation continue de l'analyse bénéfice/risque et de la gestion des risques.
Gestion des réclamations | 1.1.b.4 | Méthodes et outils appropriés et efficaces pour traiter les réclamations et analyser les données d'expérience après commercialisation.
Gestion des tendances | 1.1.b.5 | Méthodes et protocoles pour gérer les événements relevant du rapport de tendances, y compris les critères de progression statistiquement significative et la période d'observation.
Communication | 1.1.b.6 | Méthodes et protocoles assurant une communication efficace avec les autorités compétentes, organismes notifiés, opérateurs économiques et utilisateurs.
Référence aux procédures réglementaires | 1.1.b.7 | Référence aux procédures permettant de satisfaire aux obligations prévues aux articles 83, 84 et 86.
Mesures appropriées | 1.1.b.8 | Procédures systématiques pour définir et mettre en œuvre les actions appropriées, y compris les mesures correctives.
Traçabilité des dispositifs | 1.1.b.9 | Outils efficaces permettant d'identifier et de retrouver les dispositifs susceptibles de nécessiter des mesures correctives.
Plan SCAC | 1.1.b.10 | Plan de SCAC conformément à l'annexe XIV, partie B, ou justification documentée de sa non-applicabilité.
PSUR | 1.2.1 | Rapport périodique actualisé de sécurité (PSUR) conformément à l'article 86.
Rapport PMS | 1.2.2 | Rapport de surveillance après commercialisation conformément à l'article 85.

## Formés BDoCS
Responsable | Responsable formé O/N | Commentaire
Achat | N | A plannifier
Biocomp | O | (vide)
Developpement | N | Attente noms qui former
Gestion des risques | N | A Reprogrammer
Human Factor Engineering | N | Reformer avec Développement
Labo | O | (vide)
Méthodes/Indus | O | (vide)
Microbiology | O | N'utilise pas à ce jour
MSA | O | (vide)
MSA Labeling | N | MSA : O Labelling : reformer
Packaging | O | (vide)
PMO | N | Reformer avec Développement
PMS | N | A Reprogrammer
Réglementaire | O | (vide)
Validation | O | (vide)
15
O | 8
N | 7

## Resp et docs
Responsable formé O/N | (Tous)
Responsable | (Tous)
Chapter No (RMF Browser) | Chapter/Filename RMF Chasseneuil | Annex N° | Commentaire
1 | Device description and general specification | (vide) | (vide)
1.1 | Device description | (vide) | (vide)
1.1.1 | General description and intended use | Annex03 | Attente noms qui former
1.1.2 | UDI | (vide) | (vide)
1.1.3 | Accessories | (vide) | (vide)
1.1.4 | Drawings, photographs and diagrams | Annex09_8_A | Attente noms qui former
1.1.5 | Description of used materials | Annex09_2 | (vide)
1.1.6 | Material data sheets | Annex09_2_A | (vide)
1.2 | General specification | (vide) | (vide)
1.2.1 | Product specification | Annex09_6_1 | Reformer avec Développement
1.2.2 | Packaging specification | Annex07_6 | Attente noms qui former
1.2.3 | System, hardware and mechanical requirement specification | (vide) | (vide)
1.3 | Similar and previous devices | (vide) | (vide)
1.3.1 | Manufacturers previous generations | (vide) | (vide)
1.3.2 | Similar devices in the market | (vide) | (vide)
2 | Labeling | (vide) | (vide)
2.1 | Labels on the device and packaging | Annex12_2 | MSA : O Labelling : reformer
2.2 | Instructions for use | Annex12_1 | MSA : O Labelling : reformer
2.3 | Promotional material | Annex12_3_A | MSA : O Labelling : reformer
2.4 | Service manual | (vide) | (vide)
3 | Design and manufacturing information | (vide) | (vide)
3.1 | Design process | Annex13_4 | Reformer avec Développement
3.2 | Design and manufacturing sites | Annex14_6 | A plannifier
3.3 | Manufacturing process | Annex13_2_D | (vide)
3.4 | Batch, lot and serial numbering system | (vide) | (vide)
4 | Essential principles of safety and performance | (vide) | (vide)
4.1 | Essential principles checklist | Annex15_1 | (vide)
4.2 | List of applied standards | Annex15_2_A | (vide)
5 | Risk management | Annex17 | A Reprogrammer
5.1 | Plan | (vide) | (vide)
5.2 | Summary | (vide) | (vide)
5.3 | Analysis | (vide) | (vide)
6 | Product verification and validation | (vide) | (vide)
6.1 | Design verification and preclinical tests | (vide) | (vide)
6.1.1 | Design input and verification | Annex13_2_B | (vide)
6.1.1.1 | Requirement profile | (vide) | (vide)
6.1.1.2 | Test specifications | (vide) | (vide)
6.1.1.3 | Test plans | (vide) | (vide)
6.1.1.4 | Test methods | (vide) | (vide)
6.1.1.5 | Test protocols | (vide) | (vide)
6.1.1.6 | Certificates of analysis | (vide) | (vide)
6.1.1.7 | Test reports | (vide) | (vide)
6.1.2 | Biocompatibility and preclinical studies | (vide) | (vide)
6.1.2.1 | Evaluation | AnnexC2 | (vide)
6.1.2.2 | Test reports | AnnexC2 | (vide)
6.1.2.3 | Additional documentation | AnnexC2 | (vide)
6.1.3 | Cleaning and re-processing | (vide) | (vide)
6.1.4 | Electrical safety and electromagnetic compatibility | (vide) | (vide)
6.1.5 | Stability and shelf-life | (vide) | (vide)
6.1.6 | Performance tests | (vide) | (vide)
6.1.7 | Evaluation of design verification | (vide) | (vide)
6.2 | Clinical evaluation | (vide) | (vide)
6.2.1 | Plan | AnnexC1_A | (vide)
6.2.2 | Report | Annex C1_B | (vide)
6.2.3 | Post marketing clinical follow-up plan | Annex19_2 | (vide)
6.2.4 | PMCF evaluation report and justification for no PMCF | Annex19_5 | (vide)
6.2.5 | Summary of safety and clinical performance | Annex C1_C | (vide)
6.2.6 | Clinical studies and user surveys | (vide) | (vide)
6.2.7 | Literature and register data | (vide) | (vide)
6.3 | Validation | Annex13_2_C | (vide)
6.3.1 | Usability | Annex18_6 | Reformer avec Développement
6.3.2 | Packaging validation | AnnexC4 | (vide)
6.3.2.1 | Summary | (vide) | (vide)
6.3.2.2 | Validation report | (vide) | (vide)
6.3.3 | Sterilization validation | AnnexC5 | N'utilise pas à ce jour
6.3.3.1 | SAL certificate | (vide) | (vide)
6.3.3.2 | Summary | (vide) | (vide)
6.3.3.3 | Validation report | (vide) | (vide)
6.3.4 | Manufacturing validation | Annex14_4 | (vide)
6.4 | Software | (vide) | (vide)
6.4.1 | Architecture | (vide) | (vide)
6.4.10 | Release | (vide) | (vide)
6.4.2 | Configuration management and version description | (vide) | (vide)
6.4.3 | Development plan | (vide) | (vide)
6.4.4 | Specifications | (vide) | (vide)
6.4.5 | Verification reports | (vide) | (vide)
6.4.6 | Product validation report | (vide) | (vide)
6.4.7 | Revision level history | (vide) | (vide)
6.4.8 | Unresolved anomalies | (vide) | (vide)
6.4.9 | Classification | (vide) | (vide)
6.5 | Medicinal substances | (vide) | (vide)
6.6 | Biological safety | (vide) | (vide)
7 | Certificates | (vide) | (vide)
7.1 | Declaration of conformity | (vide) | (vide)
7.2 | Certificate of conformity | Annex04_3 | (vide)
7.3 | Company certificates | Annex01 | (vide)
8 | Post market surveillance | Annex19_1 | A Reprogrammer
9 | Administrative documents | (vide) | (vide)
9.1 | Declaration letters | Annex05 | (vide)
9.2 | Registration status | (vide) | (vide)
9.3 | RMF changes | HISTORY | (vide)
9.4 | Other documents | Annex10_1 | (vide)
(vide) | (vide) | Annex04_3 | (vide)
|  | Annex09_2_B | (vide)
|  | Annex09_2_C | (vide)
|  | Annex09_2_D | (vide)
|  | Annex09_6_B | Attente noms qui former
|  | Annex09_8_B | Attente noms qui former
|  | Annex09_8_C | Attente noms qui former
|  | Annex10_1_2 | (vide)
|  | Annex12_3_B | MSA : O Labelling : reformer
|  | Annex12_3_D | MSA : O Labelling : reformer
|  | Annex12-3_C | MSA : O Labelling : reformer
|  | Annex13_2_A | Attente noms qui former
|  | Annex14_2 | (vide)
|  | Annex15_2 | (vide)
|  | Annex16 | A Reprogrammer
|  | Annex18_1 | Attente noms qui former
|  | Annex18_2 | (vide)
|  | Annex18_6 | (vide)
|  | Annex19_3 | A Reprogrammer
|  | AnnexC2 | (vide)
|  | AnnexC3 | (vide)
|  | (vide) | (vide)

## Feuil1
Documents du RMF | Nbre
Additives
Annexes CER
Annexes DVR (certif)
Annexes DVR (PED)
Annexes DVR (test report)
Annexes FMC (FP/PED/PLC/VPS)
Annexes PVR
Annexes SER
Benefit-risk
Biological Evaluation of change (BEC)
Biological Evaluation Report (BER)
Biological Risk Assessment (BRA)
BOM
Brochure
CEP
CER
Changes
Changes summaries
Chemical Risk Assessment (CRA)
Cleaning
CMR ED
COM
Components drawings
Design review
Drawings list
DVR
DVS
EC certificates (legacy devices)
FDC
FMC
FMCS
GBOM
Global Material List
Glossary
GLP Certificates
GSPR
IFU
Implant card
Labeling
Literature Search
MDC
MMC
Packaging
Packaging drawings
Packaging specification
Patient label
PIL
PMCF Plan
PMCF Report
PMS Plan
Primary packaging
PRM
Processing aids
PSUR
QMS certificates
Rapports GMED
Raw materials
RMF
SAM
SSCP
Standard listing
Statement intended purpose
Statement notified body
Statements
Sterilization
Supplier data
Supplier list
Test Reports
Usability
Validated processes

## map Annexe II - RMF
|  | No. | Annex II 2017/745 | Title | RMF-chapter | content of RMF chapter
|  | 1- | DEVICE DESCRIPTION AND SPECIFICATION, INCLUDING VARIANTS AND ACCESSORIES |  | N/A | N/A
|  | 1.1 | Device description and specification |  | N/A | N/A
1 | 1 | 1.1.a) | product or trade name and a general description of the device including its intended purpose and intended users; | Name and general description | 1.1 | Device description
1 | 2 | 1.1.b) | the Basic UDI-DI as referred to in Part C of Annex VI assigned by the manufacturer to the device in question, as soon as identification of this device becomes based on a UDI system, or otherwise a clear identification by means of product code, catalogue number or other unambiguous reference allowing traceability; | Basic UDI | 1.1 | Device description
1 | 3 | 1.1.c) | the intended patient population and medical conditions to be diagnosed, treated and/or monitored and other considerations such as patient selection criteria, indications, contra-indications, warnings; | Intended patient population | 1.1 | Device description | x | 1.1.c)
1 | 4 | 1.1.d) | principles of operation of the device and its mode of action, scientifically demonstrated if necessary; | Principle of operation | 1.1 | Device description
1 | 5 | 1.1.e) | the rationale for the qualification of the product as a device; | Rationale for medical device | 1.1 | Device description
1 | 6 | 1.1.f) | the risk class of the device and the justification for the classification rule(s) applied in accordance with Annex VIII; | Device classification and justification | 1.1 | Device description
1 | 7 | 1.1.g) | an explanation of any new features; | Novelty | 1.1 | Device description | x | 1.1.g)
1 | 8 | 1.1.h) | a description of the accessories for a device, other devices and other products that are not devices, which are intended to be used in combination with it; | Accessories | 1.1 | Device description
1 | 9 | 1.1.i) | a description or complete list of the various configurations/variants of the device that are intended to be made available in the market; | Various configurations | 1.1 | Device description
1 | 10 | 1.1.j) | a general description of the key functional elements, e.g. its parts/components (including software if appropriate), formulation, composition, functionality and, where relevant, qualitative and quantitative composition. Where appropriate, this shall include labelled pictorial representations (e.g. diagrams, photographs, and drawings), clearly indicating key parts/components, including sufficient explanation to understand the drawings and diagrams; | Explanation of the functional elements | 1.1 | Device description
1 | 11 | 1.1.k) | a description of the raw materials incorporated into key functional elements and those making either direct contact with the human body or indirect contact with the body, e.g., during extracorporeal circulation of body fluids; | Materials and contact with body | 1.1 | Device description
1 | 12 | 1.1.l) | technical specifications, such as features, dimensions and performance attributes, of the device and any variants/configurations and accessories that would typically appear in the product specification provided to the user, for example, in brochures, catalogues and similar publications. | Product specifications for users | 1.2 | General specification | x | 1.1.l)
|  | 1.2 | Reference to previous and similar generations of the device |  | N/A | N/A |  |  | 1.1.c)-1.1.g)-1.1.l)
1 | 13 | 1.2.a) | an overview of the previous generation or generations of the device produced by the manufacturer, where such devices exist; | History of device | 1.3 | Similar and previous devices
1 | 14 | 1.2.b) | an overview of identified similar devices available in the European Union or international markets, where such devices exist. | Similar devices | 1.3 | Similar and previous devices
|  | 2- | INFORMATION TO BE PROVIDED BY THE |  | N/A | N/A
1 | 15 |  | MANUFACTURER
|  | 2- | A complete set of: |  | N/A | N/A
1 | 16 | 2- | label or labels on the device and on its packaging, such as single unit packaging, sales packaging, transport packaging in case of specific management conditions, in the languages accepted in the Member States where the device is to be sold; and | Etiquettes et traductions | 2.1 | Labels on the device and packaging
1 | 17 | 2- | instructions for use in the languages accepted in the Member States where the device is to be sold. | Instructions d'utilisation et traductions | 2.2 | Instructions for use
|  | 3- | DESIGN AND MANUFACTURING |  | N/A | N/A
1 | 18 |  | INFORMATION
1 | 19 | 3.a) | information to allow the design stages applied to the device to be understood; | Manufacturing workflows | 3.1 | Design process
1 | 20 | 3.b) | complete information and specifications, including manufacturing processes and their validation, their adjuvants, continuous monitoring and final product testing. Data shall be fully included in the technical documentation; | Manufacturing processes Process validation Adjuvants Monitoring Final testing and release | 3.3 | Manufacturing process
1 | 21 | 3.c) | identification of all sites, including suppliers and sub-contractors, where design and manufacturing activities are performed. | Design and manufacturing sites Control of supply chain | 3.2 | Design and manufacturing sites
|  | 4- | GENERAL SAFETY AND PERFORMANCE REQUIREMENTS |  | N/A | N/A
1 | 22 | 4- | The documentation shall contain information for the demonstration of conformity with the general safety and performance requirements set out in Annex I, which are applicable to the device, considering its intended purpose, and shall include a justification, validation and verification of the solutions adopted to meet those requirements. The demonstration of conformity shall include: | Design control traceability matrix | 4.1 | Essential principles checklist
1 | 23 | 4.a) | general safety and performance requirements that apply to the device and an explanation as to why others do not apply; | GSPR checklist | 4.1 | Essential principles checklist
1 | 24 | 4.b) | method or methods used to demonstrate conformity with each applicable general safety and performance requirement; | Methods of verification and validation | 4.1 | Essential principles checklist
1 | 25 | 4.c) | harmonized standards, CS or other solutions applied; and | Applicable standards | 4.2 | List of applied standards
1 | 26 | 4.d) | precise identification of the controlled documents, providing evidence of conformity with each harmonized standard, CS or other method applied to demonstrate conformity with the general safety and performance requirements. The information referred to under this point shall incorporate a cross-reference to the location of such evidence within the full technical documentation and, if applicable, the summary technical documentation. | Test plans Tests protocols Tests reports | 4.1 | Essential principles checklist
|  | 5- | BENEFIT-RISK ANALYSIS AND RISK MANAGEMENT |  | N/A | N/A
|  | 5- | The documentation shall contain information on: |  | N/A | N/A
1 | 27 | 5.a) | the benefit-risk analysis referred to in Sections 1 and 8 of Annex I, and | Risk benefit report | 6.2.2 | Report
1 | 28 | 5.b) | solutions adopted and results of the risk management referred to in Section 3 of Annex I. | Risks analysis | 5 | Risk management
|  | 6- | PRODUCT VERIFICATION AND VALIDATION |  | N/A | N/A
1 | 29 | 6- | The documentation shall contain the results and critical analyses of all verifications and validation tests and/or studies undertaken to demonstrate conformity of the device with the requirements of this Regulation, and in particular the applicable general safety and performance requirements. |  | 6 | Product verification and validation
|  | 6.1 | Pre-clinical and clinical data |  | N/A | N/A
1 | 30 | 6.1.a) | results of tests, such as engineering, laboratory, simulated use and animal tests, and evaluation of published literature applicable to the device, considering its intended purpose, or to similar devices, regarding the pre-clinical safety of the device and its conformity with the specifications; |  | 6.1 | Design verification and preclinical tests
1 | 31 | 6.1.b) | detailed information regarding test design, complete test or study protocols, methods of data analysis, in addition to data summaries and test conclusions regarding in particular: |  | 6.1 | Design verification and preclinical tests
1 | 32 | 6.1.b)- | biocompatibility of the device, including the identification of all materials in direct or indirect contact with the patient or user; |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 33 | 6.1.b)- | physical, chemical and microbiological characterization; |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 34 | 6.1.b)- | electrical safety and electromagnetic compatibility; |  | 6.1.4 | Electrical safety and electromagnetic compatibility
1 | 35 | 6.1.b)- | software verification and validation (describing the software design and development process and evidence of the validation of the software, as used in the finished device. This information shall typically include the summary results of all verification, validation and testing performed both in-house and in a simulated or actual user environment prior to final release. It shall also address all of the different hardware configurations and, where applicable, operating systems identified in the information supplied by the manufacturer); |  | 6.4 | Software
1 | 36 | 6.1.b)- | stability, including shelf life; and |  | 6.1.5 | Stability and shelf- life
1 | 37 | 6.1.b)- | performance and safety. |  | 6.1.6 | Performance tests
1 | 38 | 6.1.b)- | Where applicable, conformity with the provisions of Directive 2004/10/EC of the European Parliament and of the Council (1) shall be demonstrated. |  | 6.1 | Design verification and preclinical tests
1 | 39 | 6.1.b)- | Where no new testing has been undertaken, the documentation shall incorporate a rationale for that decision. An example of such a rationale would be that biocompatibility testing on identical materials was conducted when those materials were incorporated in a previous version of the device that has been legally placed on the market or put into service; |  | 6.1 | Design verification and preclinical tests
1 | 40 | 6.1.c) | clinical evaluation report and its updates and the clinical evaluation plan referred to in Article 61(12) and Part A of Annex XIV; |  | 6.2.1 | Clinical evaluation plan
1 | 41 | 6.1.c) | clinical evaluation report and its updates and the clinical evaluation plan referred to in Article 61(12) and Part A of Annex XIV; |  | 6.2.2 | Clinical evaluation report
1 | 42 | 6.1.d) | PMCF plan and PMCF evaluation report referred to in Part B of Annex XIV or a justification why a PMCF is not applicable. |  | 6.2.6 | Clinical studies and user surveys
|  | 6.2 | Additional information required in specific cases |  | N/A | N/A
1 | 43 | 6.2.a) | Where a device incorporates, as an integral part, a substance which, if used separately, may be considered to be a medicinal product within the meaning of point two of Article 1 of Directive 2001/83/EC, including a medicinal product derived from human blood or human plasma, as referred to in the first subparagraph of Article 1(8), a statement indicating this fact. In this case, the documentation shall identify the source of that substance and contain the data of the tests conducted to assess its safety, quality and usefulness, by considering the intended purpose of the device. |  | 6.5 | Medicinal substances
1 | 44 | 6.2.b) | Where a device is manufactured utilizing tissues or cells of human or animal origin, or their derivatives, and is covered by this Regulation in accordance with points (f) and (g) of Article 1(6, and where a device incorporates, as an integral part, tissues or cells of human origin or their byproducts, which have an action ancillary to that of the device and is covered by this Regulation in accordance with the first subparagraph of Article 1(10), a statement indicating this fact. In such a case, the documentation shall identify all materials of human or animal origin used and provide detailed information concerning the conformity with Sections 13.1. or 13.2., respectively, of Annex I. |  | 6.6 | Biological safety
1 | 45 | 6.2.c) | In the case of devices that are composed of substances or combinations of substances that are intended to be introduced into the human body and that are absorbed by or locally dispersed in the human body, detailed information, including test design, complete test or study protocols, methods of data analysis, and data summaries and test conclusions, regarding studies in relation to: |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 46 | 6.2.c)- | absorption, distribution, metabolism and excretion; |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 47 | 6.2.c)- | possible interactions of those substances, or their products of metabolism in the human body, with other devices, medicinal products or other substances, considering the target population, and its associated medical conditions; |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 48 | 6.2.c)- | local tolerance; and |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 49 | 6.2.c)- | toxicity, including single-dose toxicity, repeat-dose toxicity, genotoxicity, carcinogenicity and reproductive and developmental toxicity, as applicable depending on the level and nature of exposure to the device. |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 50 | 6.2.c)- | In the absence of such studies, a justification shall be provided. |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 51 | 6.2.d) | In the case of devices containing CMR or endocrine- disrupting substances referred to in Section 10.4.1 of Annex I, the justification referred to in Section 10.4.2 of that Annex. |  | 6.1.2 | Biocompatibility and preclinical studies
1 | 52 | 6.2.e) | In the case of devices placed on the market in a sterile or defined microbiological condition, a description of the environmental conditions for the relevant manufacturing steps. In the case of devices placed on the market in a sterile condition, a description of the methods used, including the validation reports, with respect to packaging, sterilisation and maintenance of sterility. The validation report shall address bioburden testing, pyrogen testing and, if applicable, testing for sterilant residues. | Assurance stérilité
1 | 53 | 6.2.f) | In the case of devices placed on the market with a measuring function, a description of the methods used in order to ensure the accuracy as given in the specifications. | Fonction de mesurage
1 | 54 | 6.2.g) | If the device is to be connected to other device(s) in order to operate as intended, a description of this combination/configuration including proof that it conforms to the general safety and performance requirements when connected to any such device(s) having regard to the characteristics specified by the manufacturer. | Usage combiné de dispositifs
1 | 55
1 | 56
1 | 57 | 1.1.b)- | suitable indicators and threshold values that shall be used in the continuous reassessment of the benefit-risk analysis and of the risk management as referred to in Section 3 of Annex I; |  | 8 | Post market surveillance
1 | 58 | 1.1.b)- | effective and appropriate methods and tools to investigate complaints and analyze market-related experience collected in the field; |  | 8 | Post market surveillance
1 | 59 | 1.1.b)- | methods and protocols to manage the events subject to the trend report as provided for in Article 88, including the methods and protocols to be used to establish any statistically significant increase in the frequency or severity of incidents as well as the observation period; |  | 8 | Post market surveillance
1 | 60 | 1.1.b)- | methods and protocols to communicate effectively with competent authorities, notified bodies, economic operators and users; |  | 8 | Post market surveillance
1 | 61 | 1.1.b)- | reference to procedures to fulfil the manufacturers obligations provisioned in Articles 83, 84 and 86; |  | 8 | Post market surveillance
1 | 62 | 1.1.b)- | systematic procedures to identify and initiate appropriate measures, including corrective actions; |  | 8 | Post market surveillance
1 | 63 | 1.1.b)- | effective tools to trace and identify devices for which corrective actions might be necessary; and |  | 8 | Post market surveillance
1 | 64 | 1.1.b)- | a PMCF plan as referred to in Part B of Annex XIV, or a justification as to why a PMCF is not applicable. |  | 6.2.4 | PMCF evaluation report and justification for no PMCF
1 | 65 | 1.2 | PSUR referred to in Article 86 and the post- market surveillance report referred to in Article 85. |  | 6.2.5 | Summary of safety and clinical performance